## Data
BASESTATIONNO | SITEnaME | STATUS | CHECKEDBY | PLANNEDDATE | DONEBY | TTNUMBER | REGION | TYPEOFSITE | AREA | QADECISION1_1 | QADECISION1_2 | QADECISION1_3 | QADECISION1_4 | QADECISION2_1 | QADECISION2_2 | QADECISION2_3 | QADECISION2_4 | QADECISION2_5 | QADECISION2_6 | QADECISION2_7 | QADECISION3_1 | QADECISION3_2 | QADECISION3_3 | QADECISION3_4 | QADECISION3_5 | QADECISION3_6 | QADECISION3_7 | QADECISION3_8 | QADECISION4_1 | QADECISION4_2 | QADECISION4_3 | QADECISION4_4 | QADECISION4_5 | QADECISION5_1 | QADECISION5_2 | QADECISION5_3 | QADECISION5_4 | QADECISION5_5 | QADECISION6_1 | QADECISION6_2 | QADECISION6_3 | QADECISION6_4 | QADECISION6_5 | QADECISION7_1 | QADECISION7_2 | QADECISION7_3 | QADECISION7_4 | QADECISION7_5 | QADECISION7_6 | QADECISION7_7 | QADECISION7_8 | QADECISION8_1 | QADECISION8_10 | QADECISION8_11 | QADECISION8_12 | QADECISION8_13 | QADECISION8_14 | QADECISION8_2 | QADECISION8_3 | QADECISION8_4 | QADECISION8_5 | QADECISION8_6 | QADECISION8_7 | QADECISION8_8 | QADECISION8_9 | QADECISION9_1 | QADECISION9_10 | QADECISION9_11 | QADECISION9_12 | QADECISION9_13 | QADECISION9_14 | QADECISION9_2 | QADECISION9_3 | QADECISION9_4 | QADECISION9_5 | QADECISION9_6 | QADECISION9_7 | QADECISION9_8 | QADECISION9_9 | QADECISION_1 | QADECISION_2 | QADECISION_3 | QADECISION_4 | QADECISION_5 | QADECISION_6 | QADECISION_7 | QADECISION_8 | QADECISION_9 | CACOMMENT1_1 | CACOMMENT1_2 | CACOMMENT1_3 | CACOMMENT1_4 | CACOMMENT2_1 | CACOMMENT2_2 | CACOMMENT2_3 | CACOMMENT2_4 | CACOMMENT2_5 | CACOMMENT2_6 | CACOMMENT2_7 | CACOMMENT3_1 | CACOMMENT3_2 | CACOMMENT3_3 | CACOMMENT3_4 | CACOMMENT3_5 | CACOMMENT3_6 | CACOMMENT3_7 | CACOMMENT3_8 | CACOMMENT4_1 | CACOMMENT4_2 | CACOMMENT4_3 | CACOMMENT4_4 | CACOMMENT4_5 | CACOMMENT5_1 | CACOMMENT5_2 | CACOMMENT5_3 | CACOMMENT5_4 | CACOMMENT5_5 | CACOMMENT6_1 | CACOMMENT6_2 | CACOMMENT6_3 | CACOMMENT6_4 | CACOMMENT6_5 | CACOMMENT7_1 | CACOMMENT7_2 | CACOMMENT7_3 | CACOMMENT7_4 | CACOMMENT7_5 | CACOMMENT7_6 | CACOMMENT7_7 | CACOMMENT7_8 | CACOMMENT8_1 | CACOMMENT8_10 | CACOMMENT8_11 | CACOMMENT8_12 | CACOMMENT8_13 | CACOMMENT8_14 | CACOMMENT8_2 | CACOMMENT8_3 | CACOMMENT8_4 | CACOMMENT8_5 | CACOMMENT8_6 | CACOMMENT8_7 | CACOMMENT8_8 | CACOMMENT8_9 | CACOMMENT9_1 | CACOMMENT9_10 | CACOMMENT9_11 | CACOMMENT9_12 | CACOMMENT9_13 | CACOMMENT9_14 | CACOMMENT9_2 | CACOMMENT9_3 | CACOMMENT9_4 | CACOMMENT9_5 | CACOMMENT9_6 | CACOMMENT9_7 | CACOMMENT9_8 | CACOMMENT9_9 | QAPHOTO1_1 | GENERATORCURRENTHOURS | GENERATORFUELLEVEL
1037 | SOMMERSCHIELD | Awaiting Inspection | Antonio Biquiza | 20/06/2019 | Antonio Biquiza | 698671 | Maputo | Greenfield | Maputo - 4 (MPE) | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | na | na | na | na | na | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | na | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | na | ok | ok | ok | not ok | [71 empty] | 331.18 | 266
1041 | TSALALA | Awaiting Inspection | Antonio Biquiza | 21/06/2019 | Antonio Biquiza | 706341 | Maputo | Greenfield | Maputo - 1 (MPN)
2034 | CUMBANE | Awaiting Inspection | Albino Cuamba | 21/07/2019 | Albino Cuamba | 702412 | Inhambane | Greenfield | Inhambane | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | [5 empty] | ok | ok | ok | ok | ok | [5 empty] | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | not ok | ok | ok | not ok | not ok | not ok | not ok | na | na | ok | ok | [14 empty] | ok |  | ok | na | ok | na | ok |  | not ok | [8 empty] | site light not working gobe to be changed | [41 empty] | not configured | not configured | [16 empty] | no battery |  |  | 12 788
2510 | INHASSORO | Awaiting Inspection | Albino Cuamba | 16/06/2019 | Albino Cuamba | 698408 | Vilanculos | Greenfield | Vilanculos | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok |  | ok | ok | ok | ok | ok | ok | ok | ok | [10 empty] | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | ok | ok | ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | na | ok | ok | ok |  | na | [8 empty] | site light not working | touch up paint required | [44 empty] | low fuel alarm is not working |  |  |  |  | touch up paint required on the on the generator | [11 empty] | 2665h22 | NO
2527 | GONDA | Awaiting Inspection | Valter Malate | 02/07/2019 | Valter Malate | 702407 | Manica | Last Mile | Chimoio | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | not ok | not ok | ok | ok | not ok | not ok | not ok | not ok | not ok | na | na | na | na | na | not ok | ok | ok | ok | not ok | not ok | ok | na | na | na |  | not ok | ok | ok | not ok | ok | ok | ok | ok | [5 empty] | not ok |  |  | not ok | na | na | ok | ok | ok | [6 empty] | ok |  | ok |  |  | not ok |  | ok |  | ok | na | na | not ok | [12 empty] | É necessario pintar a porta na parte interior e o suporte da site light | É necessario substituir o vidro na porta do M3 box | Luz do contentor não funciona |  |  | E necessario aplicar poison ant para os insectos que produzem o pó branco que se vê no interior do contentor | Pintar os parafusos de fixação do contentor com tinta galvanizada | è necessario tapar o furo por cima do contentor e recelar as juntas | Limpar o mormoché no entry plate | tem 3 modulos APR48 3G avariados e os slot de baixo estam sem tampas | [5 empty] | Aircraft warning Light não funciona |  |  |  | As abraçadeiras dos cabos de transmissão e radio devem ser substituidas estam enferrujadas, substituir o denzo past nas barras de terra | Tem uma ventoinha(extrator avariado) , de 48V avariada | [5 empty] | Sinal de aviso já perdeu a cor |  |  | Aumentar 1m em relação a vedação da area limite de limpeza | [29 empty] | parafusos da bateria enferrujados falta um terminal no born |  |  | 12882 | 30
3112 | CHIMOIO-EAST | Awaiting Inspection | Valter Malate | 23/07/2019 | Valter Malate | 708853 | Manica | Greenfield | Chimoio | ok | ok | ok | ok | [66 empty] | ok
3115 | NHAMATANDA | Awaiting Inspection | Valter Malate | 08/10/2019 | Valter Malate | 725657 | Sofala | Greenfield | Beira | ok | ok | ok | ok |  | not ok | ok | ok | not ok | not ok | not ok | not ok | ok | not ok | ok | ok | not ok | not ok | ok | na | na | na | na | na | not ok | ok | not ok | ok | ok | ok | not ok | ok | not ok | not ok | ok | ok | ok | ok | ok | not ok | ok | ok | ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | na | ok | ok | ok | ok | ok | [5 empty] | As tensõe da EDM oscilam muito |  |  | switch do site light está avariado | Parafusos da porta do M3 box e eabraçadeira de fixação precisam de pintura | As tensõe da EDM oscilam muito | A luz de emergência (48VDC) , não funciona, bayonet, armadura da luminaria AC precisa de pintura |  | E necessario colocar denzo past na terra principal do contentor |  |  | É necessario celar as partes danificadas do roof do contentor para evitar acumulação de agua, apesar não ter infiltração | Há uma entrada de cabos que precisa de ser celad | [6 empty] | lampada de navegação aerea não funciona |  | A torre está torcida , foireportado na ultima aceitação | [5 empty] | Celar com silicone as bermas da caixa de AC | Lavar as caixasvdoa AC | [5 empty] | è preciso tapar os buracos que estam proximo da vedação para evitar erosão | [21 empty] | A fechadura do gerador está partida | O gerador está a verter oleo pelo Carter | [8 empty] | 6719 | 30
3125 | CHITOBE | Awaiting Inspection | Valter Malate | 01/07/2019 | Valter Malate | 11111 | Manica | Greenfield | Chimoio | ok | ok | ok | ok | ok | ok | ok | not ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | na | na | na | na | na | ok | na | ok | not ok | ok | ok | ok | ok | na | na | not ok | not ok | ok | ok | ok | ok | ok | ok | [14 empty] | ok | ok | ok | ok | ok | not ok | ok | ok |  | not ok | ok | ok | ok |  | ok | ok | ok | na | ok | ok | ok |  | ok | [7 empty] | Não tem o vidro na porta do M3 Box | Site light não funciona , é necessario substituir | [8 empty] | É necessario por espuma nas entradas de cabos | [9 empty] | A torre tem que ser pintada | [6 empty] | Arame farpado tem que ser substituido , está enferrujado | Os sinais de aviso no portão e na torre tem que ser substituidos , pintar os suportes dos sinais do portão com tinta galvanizada | [25 empty] | A base do gerador é pequena é nenecessario aumentar para fixar o gerador |  |  |  | O radiador tem agua , é preciso drenar e por ant freeze | [5 empty] | 5411 | 64
3216 | CHITEWE | Awaiting Inspection | Valter Malate | 03/06/2019 | Valter Malate | 2222 | Manica | Greenfield | Chimoio | [70 empty] | ok | ok | ok | ok | na |  |  |  | na
3238 | NHAMPASSA | Awaiting Inspection | Valter Malate | 09/12/2019 | Valter Malate | 1111 | Manica | Greenfield | Chimoio North | ok | ok | ok | ok | ok | ok | ok | ok | not ok | not ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | na | na | na | na | na | not ok | ok | ok | ok | not ok | na | na | na | na | na | not ok | ok | ok | ok | ok | ok | ok | ok | ok | na | na | ok | ok | na | na | ok | ok | ok | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | ok | ok |  | na | ok | na | ok | ok | na | [8 empty] | Site light is not working | DB need to be painted | [8 empty] | One cover missing on BTS slot | [5 empty] | Site Light is not working |  |  |  | IF cable/fiber need to be organized on tower | [5 empty] | Gate hangs need to be painted with cold galvanized | [36 empty] | na | na
4042 | CRUZAMENTO | Awaiting Inspection | Samuel David | 05/08/2019 | Samuel David | 722651 | Tete | Greenfield | Tete 1 ( South) | ok | ok | ok | ok | ok | ok | ok | not ok | not ok | not ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | na | na |  |  |  | ok | ok | ok | ok | ok | [5 empty] | not ok | ok | ok | not ok | ok | ok | not ok | ok | ok | na | ok | ok | ok | ok | na | not ok | not ok | ok | na | na | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | not ok | ok | ok | ok | ok | ok | na | ok |  | ok | ok | ok | [7 empty] | É preciso fechar a entrada dos cabos | Precisa de ser ligado e direcionado | É preciso pintar a parte exterior | [7 empty] | Tampa deve ser fechada | [16 empty] | A rede da vedação foi vandalizada |  |  | É necessário acrescentar e ou trocar a brita do site. |  |  | Tirar o lixo de cima do arame farpado | [26 empty] | Gerador foi vandalizado e furaram o tanque de combustive |  |  |  | 9282 | 5
4043 | KAMBULATSITSI | Awaiting Inspection | Samuel David | 20/11/2019 | Samuel David | 722604 | Tete | Greenfield | Tete 2 (North) | ok | ok | ok | ok | [38 empty] | ok | na | ok | not ok | ok |  | na | not ok | not ok | ok | na | na |  | ok | [14 empty] | ok | ok
4055 | ALDEIA-CRIANCA-SOS | Awaiting Inspection | Samuel David | 05/11/2019 | Samuel David | 702179 | Tete | Greenfield | Tete 2 (North) | ok | ok | ok | ok | ok | ok | not ok | ok | not ok | ok | not ok | na | na | na | na | ok | ok | ok | ok | na | na | na | na | na | not ok | ok | ok | ok | not ok | na | na | na | na | na | ok | ok | ok | ok | ok | ok | ok | ok | ok | na | ok | not ok | ok | na | na | ok | ok | not ok | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | ok | ok | na | na | ok | na | ok |  | na | [6 empty] | The phase selector not work |  | Not work, lamp need to be replaced |  | Meter need to be fixed correctly | [13 empty] | Not lighting , need to be replaced |  |  |  | If cable need to be fixed correctly on the lader
5546 | MUEZIA | Awaiting Inspection | George Verlopp | 04/06/2019 | George Verlopp | 693124 | nampula | Outdoor | nampula | [70 empty] | ok | not ok | not ok | ok | na | ok | ok |  | na | [71 empty] | 16559.31 | 57